Compression/Tension Reinforcement

1.K=Mbd2fcu2.Ensure xd≤0.5(for under-reinforced design)K'=0.156for xd=0.50.402βb−0.4−0.18βb−0.42where βb=xd+0.43.zd=0.5+0.25−K0.94.If K<K':Compression reinforcement not requiredProvide tension reinforcement for As=M0.87fyzIf K>K':Provide compression reinforcement for   {As'=K−K'fcubd2fs'd−d'Provide tension reinforcement forAs=K'fcubd20.87fyz+As'fs'0.87fy5.Check:min As:100Asbd>0.13for rectangular, else [Table 3.27]100 {As'bd>0.4for rectangular, else [Table 3.27]maxAs:100As or  {A'sbd<4Clear spacing>φ

Shear reinforcement

1.v=Vubvd<0.8fcu=5MPaelse, increase bvd2.Find 100Asbd⇒vc from [Table 3.9]3.For v<0.5vc:No reinforcement requiredFor 0.5vc<v<vc+0.4:Provide minimum reinforcement links for Asvsv≥0.4bv0.87fyvFor v>vc+0.4:Provide links for Asvsv≥v−vcb0.87fyv

# Torsional reinforcement

1.vt=2Thmin2hmax−13hminwhere hmin and hmax are taken where hmin3hmax is maximum2.vt+v<vtu=0.8fcu=5MPaelse, increase cross-sectional dimensions3.vt<vtmin=0.067fcu=0.4MPaelse, provide torsional reinforcement as below:For longitudinal bars:As≥Asvsvfyvfyx1+y1For links/stirrups:Asvsv≥T0.8x1y10.87fyvfor torsion onlyProvide for Asvsv for shear+torsion

Deflection Control

l=span1.For l<10m:Basic ld=[Table 3.10]For l>10m:Basic ld=[Table 3.10]×10l2.Modification factor for tension reinforcement:Find Mbd2⇒[Table 3.11]else, calculate from Equation 7 & 8 given3.Modification factor for compression reinforcement: Find 100 {As'bd⇒[Table 3.12]else, calculate from Equation 9 given4.Overall ld=[1]×[2]×[3]> Actual ld⇒O.K.